## Note
Data source | IoT sensors
| Types | Luximeter | Illuminance environment
|  | Presence | PIR report status
|  | Reed | Trigger open/close door status
|  | Environmental | Environmental parameters
|  | powerelectricity | electric_power. Only in 2018
CSV files format | Columns | idsensor | sensortype | srtDate | measure_1 | measure_2 | ....
| Description | Sensor ID | Sensor type | Time stamp ISO DATE 8601 | Measure_1 value of the sensor. Es.: illuminance in Lux | Measure_2 value of the sensor. Es. battery_level in Volt
| Example | jzp://edv#0303.0000 | LuxMeter | 2019-02-01T01:00:37.486+01:00 | 2.0 | 1.0
Notes | CSV files of different sensors have different columns
Data is not cleaned and there are missing values

## LuxMeter
Unit | [5 empty] | V | C° | Lux | adimensional
| idsensor | sensortype | srtDate | adc_channel_00 | adc_channel_01 | battery_level | device_temperature | illuminance | sequence_number
| jzp://edv#0303.0000 | LuxMeter | 2019-02-01T01:00:37.486+01:00 | 2.0 | 1.0 | 0.14236 | 27.0 | 18059004098176900 | 66.0
| jzp://edv#0303.0000 | LuxMeter | 2019-02-01T01:01:07.894+01:00 | 2.0 | 1.0 | 0.14236 | 27.0 | 18059004098176900 | 67.0
| jzp://edv#0303.0000 | LuxMeter | 2019-02-01T01:01:37.988+01:00 | 2.0 | 1.0 | 0.14236 | 27.0 | 18059004098176900 | 68.0
| jzp://edv#0303.0000 | LuxMeter | 2019-02-01T01:02:08.009+01:00 | 2.0 | 1.0 | 0.14236 | 27.0 | 18059004098176900 | 69.0
| jzp://edv#0303.0000 | LuxMeter | 2019-02-01T01:02:38.193+01:00 | 2.0 | 1.0 | 0.14236 | 26.0 | 18059004098176900 | 70.0
| jzp://edv#0303.0000 | LuxMeter | 2019-02-01T01:03:08.258+01:00 | 2.0 | 1.0 | 0.14236 | 26.0 | 18059004098176900 | 71.0
| jzp://edv#0303.0000 | LuxMeter | 2019-02-01T01:03:37.933+01:00 | 2.0 | 1.0 | 0.14236 | 27.0 | 18059004098176900 | 72.0
| jzp://edv#0303.0000 | LuxMeter | 2019-02-01T01:04:08.564+01:00 | 2.0 | 1.0 | 0.14236 | 26.0 | 18059004098176900 | 73.0
| jzp://edv#0303.0000 | LuxMeter | 2019-02-01T01:04:38.529+01:00 | 2.0 | 1.0 | 0.14236 | 27.0 | 18059004098176900 | 74.0
| jzp://edv#0303.0000 | LuxMeter | 2019-02-01T01:05:08.874+01:00 | 2.0 | 1.0 | 0.14236 | 27.0 | 18059004098176900 | 75.0
| jzp://edv#0303.0000 | LuxMeter | 2019-02-01T01:05:38.354+01:00 | 2.0 | 1.0 | 0.14236 | 26.0 | 18059004098176900 | 76.0
| jzp://edv#0303.0000 | LuxMeter | 2019-02-01T01:06:08.978+01:00 | 2.0 | 1.0 | 0.14236 | 27.0 | 18059004098176900 | 77.0
| jzp://edv#0303.0000 | LuxMeter | 2019-02-01T01:06:38.871+01:00 | 2.0 | 1.0 | 0.14236 | 26.0 | 18059004098176900 | 78.0

## Presence
Unit |  |  |  | V | C° | Adimensional (1 presence, 0 none) | adimensional
| idsensor | sensortype | srtDate | battery_level | device_temperature | presence | sequence_number
| jzp://edv#0325.0000 | Presence | 2019-03-01T01:00:26.396+01:00 | 3.4 | -1.0 | 0.0 | 238.0
| jzp://edv#0325.0000 | Presence | 2019-03-01T01:00:56.642+01:00 | 3.4 | -1.0 | 0.0 | 239.0
| jzp://edv#0325.0000 | Presence | 2019-03-01T01:01:26.593+01:00 | 3.4 | -1.0 | 0.0 | 240.0
| jzp://edv#0325.0000 | Presence | 2019-03-01T01:01:56.312+01:00 | 3.4 | -1.0 | 0.0 | 241.0
| jzp://edv#0325.0000 | Presence | 2019-03-01T01:02:26.397+01:00 | 3.4 | -1.0 | 0.0 | 242.0
| jzp://edv#0325.0000 | Presence | 2019-03-01T01:02:56.349+01:00 | 3.4 | -1.0 | 0.0 | 243.0
| jzp://edv#0325.0000 | Presence | 2019-03-01T01:03:26.537+01:00 | 3.4 | -1.0 | 0.0 | 244.0
| jzp://edv#0325.0000 | Presence | 2019-03-01T01:03:56.225+01:00 | 3.4 | -1.0 | 0.0 | 245.0

## Reed
Unit |  |  |  | V | C° | adimensional | Adminesional. Change status measn door action
| idsensor | sensortype | srtDate | battery_level | device_temperature | sequence_number | status
| jzp://edv#0125.0000 | ReedSensor | 2019-04-02T00:32:38.123+02:00 | 0.14236 | 25.0 | 0.0 | 0.0
| jzp://edv#0125.0000 | ReedSensor | 2019-04-03T00:31:52.737+02:00 | 0.14236 | 25.0 | 0.0 | 0.0
| jzp://edv#0125.0000 | ReedSensor | 2019-04-04T00:31:59.816+02:00 | 0.14236 | 25.0 | 0.0 | 0.0
| jzp://edv#0125.0000 | ReedSensor | 2019-04-05T00:32:24.227+02:00 | 0.14236 | 25.0 | 0.0 | 0.0
| jzp://edv#0125.0000 | ReedSensor | 2019-04-06T00:31:54.214+02:00 | 0.14236 | 25.0 | 0.0 | 1.0
| jzp://edv#0125.0000 | ReedSensor | 2019-04-07T00:32:00.535+02:00 | 0.14236 | 25.0 | 0.0 | 0.0
| jzp://edv#0125.0000 | ReedSensor | 2019-04-08T00:31:49.698+02:00 | 0.14236 | 25.0 | 0.0 | 0.0
| jzp://edv#0125.0000 | ReedSensor | 2019-04-09T00:31:55.974+02:00 | 0.14236 | 25.0 | 0.0 | 0.0
| jzp://edv#0125.0000 | ReedSensor | 2019-04-10T00:32:03.722+02:00 | 0.14236 | 26.0 | 0.0 | 0.0

## Environmental
Unit |  |  |  | kg/m³ |  | V | C° | C° | C° |  |  |  |  | Pa |  | %
| idsensor | sensortype | srtDate | absolute_humidity | back_front | battery_level | device_temperature | dew_point | environmental_temperature | movement_level | orientation | position | posture_tilt | pressure | regular | relative_humidity | sequence_number
| jzp://edv#0192.0000 | Environmental | 2019-04-01T02:01:27.365+02:00 | 8566831588745110 | 0.0 | 0.16319 | 6.0 | 924695873260498 | 2170482635498040 | 0.0 | 0.0 | 0.0 | 0.0 | 101341.0 | 0.0 | 45.0 | 88.0
| jzp://edv#0192.0000 | Environmental | 2019-04-01T02:03:28.019+02:00 | 8566831588745110 | 0.0 | 0.16319 | 6.0 | 924695873260498 | 2170482635498040 | 0.0 | 0.0 | 0.0 | 0.0 | 101337.0 | 0.0 | 45.0 | 89.0
| jzp://edv#0192.0000 | Environmental | 2019-04-01T02:05:27.639+02:00 | 8566831588745110 | 0.0 | 0.16319 | 6.0 | 924695873260498 | 2170482635498040 | 0.0 | 0.0 | 0.0 | 0.0 | 101330.0 | 0.0 | 45.0 | 90.0
| jzp://edv#0192.0000 | Environmental | 2019-04-01T02:07:28.219+02:00 | 8566831588745110 | 0.0 | 0.16319 | 6.0 | 924695873260498 | 2170482635498040 | 0.0 | 0.0 | 0.0 | 0.0 | 101336.0 | 0.0 | 45.0 | 91.0
| jzp://edv#0192.0000 | Environmental | 2019-04-01T02:09:28.607+02:00 | 8566831588745110 | 0.0 | 0.16319 | 6.0 | 924695873260498 | 2170482635498040 | 0.0 | 0.0 | 0.0 | 0.0 | 101335.0 | 0.0 | 45.0 | 92.0
| jzp://edv#0192.0000 | Environmental | 2019-04-01T02:11:28.693+02:00 | 8566831588745110 | 0.0 | 0.16319 | 6.0 | 924695873260498 | 2170482635498040 | 0.0 | 0.0 | 0.0 | 0.0 | 101338.0 | 0.0 | 45.0 | 93.0
| jzp://edv#0192.0000 | Environmental | 2019-04-01T02:13:28.806+02:00 | 8566831588745110 | 0.0 | 0.16319 | 6.0 | 924695873260498 | 2170482635498040 | 0.0 | 0.0 | 0.0 | 0.0 | 101337.0 | 0.0 | 45.0 | 94.0
| jzp://edv#0192.0000 | Environmental | 2019-04-01T02:15:29.278+02:00 | 8566831588745110 | 0.0 | 0.16319 | 6.0 | 924695873260498 | 2170482635498040 | 0.0 | 0.0 | 0.0 | 0.0 | 101331.0 | 0.0 | 45.0 | 95.0
| jzp://edv#0192.0000 | Environmental | 2019-04-01T02:17:29.344+02:00 | 8545652389526360 | 0.0 | 0.16319 | 6.0 | 9208001136779780 | 2166192626953120 | 0.0 | 0.0 | 0.0 | 0.0 | 101329.0 | 0.0 | 45.0 | 96.0
| jzp://edv#0192.0000 | Environmental | 2019-04-01T02:19:29.825+02:00 | 8545652389526360 | 0.0 | 0.16319 | 6.0 | 9208001136779780 | 2166192626953120 | 0.0 | 0.0 | 0.0 | 0.0 | 101329.0 | 0.0 | 45.0 | 97.0
| jzp://edv#0192.0000 | Environmental | 2019-04-01T02:21:30.262+02:00 | 8545652389526360 | 0.0 | 0.16319 | 6.0 | 9208001136779780 | 2166192626953120 | 0.0 | 0.0 | 0.0 | 0.0 | 101325.0 | 0.0 | 45.0 | 98.0
| jzp://edv#0192.0000 | Environmental | 2019-04-01T02:23:29.993+02:00 | 8545652389526360 | 0.0 | 0.16319 | 6.0 | 9208001136779780 | 2166192626953120 | 0.0 | 0.0 | 0.0 | 0.0 | 101324.0 | 0.0 | 45.0 | 99.0
| jzp://edv#0192.0000 | Environmental | 2019-04-01T02:25:30.864+02:00 | 8545652389526360 | 0.0 | 0.16319 | 6.0 | 9208001136779780 | 2166192626953120 | 0.0 | 0.0 | 0.0 | 0.0 | 101322.0 | 0.0 | 45.0 | 100.0
| jzp://edv#0192.0000 | Environmental | 2019-04-01T02:27:30.624+02:00 | 8545652389526360 | 0.0 | 0.16319 | 6.0 | 9208001136779780 | 2166192626953120 | 0.0 | 0.0 | 0.0 | 0.0 | 101326.0 | 0.0 | 45.0 | 101.0
| jzp://edv#0192.0000 | Environmental | 2019-04-01T02:29:30.885+02:00 | 8545652389526360 | 0.0 | 0.16319 | 6.0 | 9208001136779780 | 2166192626953120 | 0.0 | 0.0 | 0.0 | 0.0 | 101327.0 | 0.0 | 45.0 | 102.0

## electric_power
Unit |  |  |  | kw | A
| idsensor | sensortype | srtDate | electric_power | rms_current
| jzv://powerelectricity/0000#1012 | powerelectricity | 2018-04-01T02:00:12.988+02:00 | 975599350561455 | 511127538718584
| jzv://powerelectricity/0000#1012 | powerelectricity | 2018-04-01T02:00:12.988+02:00 | 974178801343235 | 510383296909568
| jzv://powerelectricity/0000#1012 | powerelectricity | 2018-04-01T02:00:12.988+02:00 | 973168403805013 | 50985393820659
| jzv://powerelectricity/0000#1012 | powerelectricity | 2018-04-01T02:00:12.988+02:00 | 963583120882086 | 504832100025274
| jzv://powerelectricity/0000#1012 | powerelectricity | 2018-04-01T02:01:45.069+02:00 | 98361004147054 | 515324430327255
| jzv://powerelectricity/0000#1012 | powerelectricity | 2018-04-01T02:01:45.069+02:00 | 984569482478028 | 515827092327205
| jzv://powerelectricity/0000#1012 | powerelectricity | 2018-04-01T02:01:45.069+02:00 | 983995801068309 | 515526534145417
| jzv://powerelectricity/0000#1012 | powerelectricity | 2018-04-01T02:03:17.121+02:00 | 982905511290164 | 514955318993959
| jzv://powerelectricity/0000#1012 | powerelectricity | 2018-04-01T02:03:17.121+02:00 | 984620464840106 | 515853802563566
| jzv://powerelectricity/0000#1012 | powerelectricity | 2018-04-01T02:03:17.121+02:00 | 996299134098191 | 521972389532651
| jzv://powerelectricity/0000#1012 | powerelectricity | 2018-04-01T02:04:49.942+02:00 | 100728067928131 | 527725745310864
| jzv://powerelectricity/0000#1012 | powerelectricity | 2018-04-01T02:04:49.942+02:00 | 995115736999434 | 52135239440241
| jzv://powerelectricity/0000#1012 | powerelectricity | 2018-04-01T02:04:49.942+02:00 | 995260740143456 | 521428363190281
| jzv://powerelectricity/0000#1012 | powerelectricity | 2018-04-01T02:04:49.942+02:00 | 996248985470788 | 521946116099321